## 43347 Product Configurations
CY2026 43347 Product Configurations
Configuration Code | Measurement | Sensor Calibration | Cable Length | Product Description
VX-UC-3m | VX 4-Wire Half Bridge | UC Uncalibrated Sensor | 3m | 43347-VX-UC-3m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -UC Uncalibrated Sensor -3m w/3m (10ft) per Sensor -PT w/Tinned Wires
VX-UC-5m | VX 4-Wire Half Bridge | UC Uncalibrated Sensor | 5m | 43347-VX-UC-5m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -UC Uncalibrated Sensor -5m w/5m (17ft) per Sensor -PT w/Tinned Wires
VX-UC-10m | VX 4-Wire Half Bridge | UC Uncalibrated Sensor | 10m | 43347-VX-UC-10m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -UC Uncalibrated Sensor -10m w/10m (33ft) per Sensor -PT w/Tinned Wires
VX-UC-15m | VX 4-Wire Half Bridge | UC Uncalibrated Sensor | 15m | 43347-VX-UC-15m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -UC Uncalibrated Sensor -15m w/15m (50ft) per Sensor -PT w/Tinned Wires
VX-CC-5m | VX 4-Wire Half Bridge | CC Calibrated Sensor | 5m | 43347-VX-CC-5m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -CC Calibrated Sensor -5m w/5m (17ft) per Sensor -PT w/Tinned Wires
VX-CC-10m | VX 4-Wire Half Bridge | CC Calibrated Sensor | 10m | 43347-VX-CC-10m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -CC Calibrated Sensor -10m w/10m (33ft) per Sensor -PT w/Tinned Wires
VX-CC-15m | VX 4-Wire Half Bridge | CC Calibrated Sensor | 15m | 43347-VX-CC-15m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -CC Calibrated Sensor -15m w/15m (50ft) per Sensor -PT w/Tinned Wires
IX-UC-3m | IX Resistance | UC Uncalibrated Sensor | 3m | 43347-IX-UC-3m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -UC Uncalibrated Sensor -3m w/3m (10ft) per Sensor -PT w/Tinned Wires
IX-UC-5m | IX Resistance | UC Uncalibrated Sensor | 5m | 43347-IX-UC-5m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -UC Uncalibrated Sensor -5m w/5m (17ft) per Sensor -PT w/Tinned Wires
IX-UC-10m | IX Resistance | UC Uncalibrated Sensor | 10m | 43347-IX-UC-10m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -UC Uncalibrated Sensor -10m w/10m (33ft) per Sensor -PT w/Tinned Wires
IX-UC-15m | IX Resistance | UC Uncalibrated Sensor | 15m | 43347-IX-UC-15m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -UC Uncalibrated Sensor -15m w/15m (50ft) per Sensor -PT w/Tinned Wires
IX-CC-3m | IX Resistance | CC Calibrated Sensor | 3m | 43347-IX-CC-3m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -CC Calibrated Sensor -3m w/3m (10ft) per Sensor -PT w/Tinned Wires
IX-CC-5m | IX Resistance | CC Calibrated Sensor | 5m | 43347-IX-CC-5m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -CC Calibrated Sensor -5m w/5m (17ft) per Sensor -PT w/Tinned Wires
IX-CC-10m | IX Resistance | CC Calibrated Sensor | 10m | 43347-IX-CC-10m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -CC Calibrated Sensor -10m w/10m (33ft) per Sensor -PT w/Tinned Wires
IX-CC-15m | IX Resistance | CC Calibrated Sensor | 15m | 43347-IX-CC-15m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -IX Resistance/IX -CC Calibrated Sensor -15m w/15m (50ft) per Sensor -PT w/Tinned Wires
VX-CC-3m | VX 4-Wire Half Bridge | CC Calibrated Sensor | 3m | 43347-VX-CC-3m 43347 RM Young 1K RTD Temperature Sensor (-50 to +50C) -VX 4-Wire Half Bridge/VX -CC Calibrated Sensor -3m w/3m (10ft) per Sensor -PT w/Tinned Wires