## 45355 Product Configurations
CY2026 CS456 Product Configurations
Configuration | Cable Length (m) | Accuracy Option | Pressure Range Option | Nose Cone Option | Product Description
5m-SA-2-SN | 5m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | SN w/Standard Nose Cone | CS456-5m-SA-2-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) –SN w/Standard Nose Cone
5m-SA-2-WN | 5m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | WN w/Weighted Nose Cone | CS456-5m-SA-2-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -WN w/Weighted Nose Cone
5m-SA-2-NN | 5m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | NN w/NPT Fitting | CS456-5m-SA-2-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -NN w/NPT Fitting
5m-SA-7-WN | 5m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-5m-SA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
5m-SA-7-NN | 5m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-5m-SA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
5m-SA-14-SN | 5m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-5m-SA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
5m-SA-14-WN | 5m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-5m-SA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
5m-SA-14-NN | 5m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-5m-SA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
5m-SA-29-SN | 5m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-5m-SA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
5m-SA-29-WN | 5m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-5m-SA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
5m-SA-29-NN | 5m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-5m-SA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
5m-SA-72-SN | 5m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-5m-SA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
5m-SA-72-WN | 5m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-5m-SA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
5m-SA-72-NN | 5m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-5m-SA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
5m-SA-145-SN | 5m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-5m-SA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
5m-SA-145-WN | 5m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-5m-SA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
5m-SA-145-NN | 5m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-5m-SA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
5m-HA-7-SN | 5m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-5m-HA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
5m-HA-7-WN | 5m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-5m-HA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
5m-HA-7-NN | 5m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-5m-HA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
5m-HA-14-SN | 5m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-5m-HA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
5m-HA-14-WN | 5m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-5m-HA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
5m-HA-14-NN | 5m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-5m-HA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
5m-HA-29-SN | 5m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-5m-HA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
5m-HA-29-WN | 5m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-5m-HA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
5m-HA-29-NN | 5m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-5m-HA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
5m-HA-72-SN | 5m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-5m-HA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
5m-HA-72-WN | 5m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-5m-HA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
5m-HA-72-NN | 5m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-5m-HA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
5m-HA-145-SN | 5m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-5m-HA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
5m-HA-145-WN | 5m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-5m-HA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
5m-HA-145-NN | 5m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-5m-HA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
10m-SA-2-SN | 10m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | SN w/Standard Nose Cone | CS456-10m-SA-2-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) –SN w/Standard Nose Cone
10m-SA-2-WN | 10m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | WN w/Weighted Nose Cone | CS456-10m-SA-2-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -WN w/Weighted Nose Cone
10m-SA-2-NN | 10m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | NN w/NPT Fitting | CS456-10m-SA-2-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -NN w/NPT Fitting
10m-SA-7-SN | 10m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-10m-SA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
10m-SA-7-WN | 10m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-10m-SA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
10m-SA-7-NN | 10m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-10m-SA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
10m-SA-14-SN | 10m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-10m-SA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
10m-SA-14-WN | 10m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-10m-SA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
10m-SA-14-NN | 10m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-10m-SA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
10m-SA-29-SN | 10m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-10m-SA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
10m-SA-29-WN | 10m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-10m-SA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
10m-SA-29-NN | 10m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-10m-SA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
10m-SA-72-SN | 10m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-10m-SA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
10m-SA-72-WN | 10m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-10m-SA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
10m-SA-72-NN | 10m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-10m-SA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
10m-SA-145-SN | 10m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-10m-SA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
10m-SA-145-WN | 10m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-10m-SA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
10m-SA-145-NN | 10m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-10m-SA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
10m-HA-7-SN | 10m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-10m-HA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
10m-HA-7-WN | 10m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-10m-HA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
10m-HA-7-NN | 10m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-10m-HA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
10m-HA-14-NN | 10m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-10m-HA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
10m-HA-14-WN | 10m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-10m-HA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
10m-HA-14-SN | 10m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-10m-HA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
10m-HA-29-SN | 10m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-10m-HA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
10m-HA-29-WN | 10m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-10m-HA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
10m-HA-29-NN | 10m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-10m-HA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
10m-HA-72-SN | 10m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-10m-HA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
10m-HA-72-WN | 10m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-10m-HA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
10m-HA-72-NN | 10m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-10m-HA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
10m-HA-145-SN | 10m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-10m-HA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
10m-HA-145-WN | 10m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-10m-HA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
10m-HA-145-NN | 10m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-10m-HA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -10m w/10m (33ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
15m-SA-2-SN | 15m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | SN w/Standard Nose Cone | CS456-15m-SA-2-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) –SN w/Standard Nose Cone
15m-SA-2-WN | 15m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | WN w/Weighted Nose Cone | CS456-15m-SA-2-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -WN w/Weighted Nose Cone
15m-SA-2-NN | 15m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | NN w/NPT Fitting | CS456-15m-SA-2-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -NN w/NPT Fitting
15m-SA-7-SN | 15m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-15m-SA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
15m-SA-7-WN | 15m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-15m-SA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
15m-SA-7-NN | 15m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-15m-SA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
15m-SA-14-SN | 15m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-15m-SA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
15m-SA-14-WN | 15m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-15m-SA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
15m-SA-14-NN | 15m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-15m-SA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
15m-SA-29-SN | 15m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-15m-SA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
15m-SA-29-WN | 15m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-15m-SA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
15m-SA-29-NN | 15m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-15m-SA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
15m-SA-72-SN | 15m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-15m-SA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
15m-SA-72-WN | 15m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-15m-SA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
15m-SA-72-NN | 15m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-15m-SA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
15m-SA-145-SN | 15m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-15m-SA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
15m-SA-145-WN | 15m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-15m-SA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
15m-SA-145-NN | 15m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-15m-SA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
15m-HA-7-NN | 15m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-15m-HA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
15m-HA-7-SN | 15m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-15m-HA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
15m-HA-7-WN | 15m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-15m-HA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
5m-SA-7-SN | 5m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-5m-SA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -5m w/5m (17ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
15m-HA-14-SN | 15m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-15m-HA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
15m-HA-14-WN | 15m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-15m-HA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
15m-HA-14-NN | 15m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-15m-HA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
15m-HA-29-SN | 15m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-15m-HA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
15m-HA-29-WN | 15m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-15m-HA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
15m-HA-29-NN | 15m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-15m-HA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
15m-HA-72-SN | 15m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-15m-HA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
15m-HA-72-WN | 15m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-15m-HA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
15m-HA-72-NN | 15m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-15m-HA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
15m-HA-145-SN | 15m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-15m-HA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
25m-SA-2-SN | 25m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | SN w/Standard Nose Cone | CS456-25m-SA-2-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) –SN w/Standard Nose Cone
15m-HA-145-WN | 15m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-15m-HA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
25m-SA-2-WN | 25m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | WN w/Weighted Nose Cone | CS456-25m-SA-2-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -WN w/Weighted Nose Cone
25m-SA-2-NN | 25m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | NN w/NPT Fitting | CS456-25m-SA-2-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -NN w/NPT Fitting
25m-SA-7-SN | 25m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-25m-SA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
25m-SA-7-WN | 25m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-25m-SA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
25m-SA-7-NN | 25m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-25m-SA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
25m-SA-14-SN | 25m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-25m-SA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
25m-SA-14-WN | 25m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-25m-SA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
25m-SA-14-NN | 25m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-25m-SA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
25m-SA-29-SN | 25m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-25m-SA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
25m-SA-29-WN | 25m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-25m-SA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
25m-SA-29-NN | 25m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-25m-SA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
25m-SA-72-SN | 25m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-25m-SA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
25m-SA-72-WN | 25m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-25m-SA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
25m-SA-72-NN | 25m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-25m-SA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
25m-SA-145-SN | 25m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-25m-SA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
25m-SA-145-WN | 25m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-25m-SA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
25m-SA-145-NN | 25m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-25m-SA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
25m-HA-7-SN | 25m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-25m-HA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
25m-HA-7-WN | 25m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-25m-HA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
25m-HA-7-NN | 25m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-25m-HA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
25m-HA-14-SN | 25m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-25m-HA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
25m-HA-14-WN | 25m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-25m-HA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
25m-HA-14-NN | 25m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-25m-HA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
25m-HA-29-SN | 25m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-25m-HA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
25m-HA-29-WN | 25m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-25m-HA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
25m-HA-29-NN | 25m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-25m-HA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
25m-HA-72-SN | 25m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-25m-HA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
25m-HA-72-WN | 25m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-25m-HA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
25m-HA-72-NN | 25m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-25m-HA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
25m-HA-145-SN | 25m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-25m-HA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
25m-HA-145-WN | 25m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-25m-HA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
25m-HA-145-NN | 25m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-25m-HA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -25m w/25m (83ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
30m-SA-2-SN | 30m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | SN w/Standard Nose Cone | CS456-30m-SA-2-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) –SN w/Standard Nose Cone
30m-SA-2-WN | 30m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | WN w/Weighted Nose Cone | CS456-30m-SA-2-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -WN w/Weighted Nose Cone
30m-SA-2-NN | 30m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | NN w/NPT Fitting | CS456-30m-SA-2-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -NN w/NPT Fitting
30m-SA-7-SN | 30m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-30m-SA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
30m-SA-7-WN | 30m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-30m-SA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
30m-SA-7-NN | 30m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-30m-SA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
30m-SA-14-SN | 30m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-30m-SA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
30m-SA-14-WN | 30m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-30m-SA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
30m-SA-14-NN | 30m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-30m-SA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
30m-SA-29-SN | 30m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-30m-SA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
30m-SA-29-WN | 30m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-30m-SA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
30m-SA-29-NN | 30m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-30m-SA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
30m-SA-72-SN | 30m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-30m-SA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
30m-SA-72-WN | 30m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-30m-SA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
30m-SA-72-NN | 30m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-30m-SA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
30m-SA-145-SN | 30m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-30m-SA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
30m-SA-145-WN | 30m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-30m-SA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
30m-SA-145-NN | 30m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-30m-SA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
30m-HA-7-SN | 30m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-30m-HA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
30m-HA-7-WN | 30m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-30m-HA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
30m-HA-7-NN | 30m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-30m-HA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
30m-HA-14-SN | 30m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-30m-HA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
30m-HA-14-WN | 30m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-30m-HA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
30m-HA-14-NN | 30m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-30m-HA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
30m-HA-29-SN | 30m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-30m-HA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
30m-HA-29-WN | 30m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-30m-HA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
30m-HA-29-NN | 30m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-30m-HA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
30m-HA-72-SN | 30m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-30m-HA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
30m-HA-72-WN | 30m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-30m-HA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
30m-HA-72-NN | 30m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-30m-HA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
30m-HA-145-SN | 30m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-30m-HA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
30m-HA-145-WN | 30m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-30m-HA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
30m-HA-145-NN | 30m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-30m-HA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -30m w/30m (100ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
60m-SA-2-SN | 60m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | SN w/Standard Nose Cone | CS456-60m-SA-2-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) –SN w/Standard Nose Cone
60m-SA-2-WN | 60m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | WN w/Weighted Nose Cone | CS456-60m-SA-2-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -WN w/Weighted Nose Cone
60m-SA-2-NN | 60m | SA Standard 0.1% Accuracy | 0-2.9psig (20kPa) | NN w/NPT Fitting | CS456-60m-SA-2-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -2 0-2.9psig (20kPa) -NN w/NPT Fitting
60m-SA-7-SN | 60m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-60m-SA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
60m-SA-7-WN | 60m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-60m-SA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
60m-SA-7-NN | 60m | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-60m-SA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
60m-SA-14-SN | 60m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-60m-SA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
60m-SA-14-WN | 60m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-60m-SA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
60m-SA-14-NN | 60m | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-60m-SA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
60m-SA-29-SN | 60m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-60m-SA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
60m-SA-29-WN | 60m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-60m-SA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
60m-SA-29-NN | 60m | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-60m-SA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
60m-SA-72-SN | 60m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-60m-SA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
60m-SA-72-WN | 60m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-60m-SA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
60m-SA-72-NN | 60m | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-60m-SA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
60m-SA-145-SN | 60m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-60m-SA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
60m-SA-145-WN | 60m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-60m-SA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
60m-SA-145-NN | 60m | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-60m-SA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
60m-HA-7-SN | 60m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | SN w/Standard Nose Cone | CS456-60m-HA-7-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) –SN w/Standard Nose Cone
60m-HA-7-WN | 60m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | WN w/Weighted Nose Cone | CS456-60m-HA-7-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -WN w/Weighted Nose Cone
60m-HA-7-NN | 60m | HA Higher 0.05% Accuracy | 0-7.25psig (50kPa) | NN w/NPT Fitting | CS456-60m-HA-7-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -7 0-7.25psig (50kPa) -NN w/NPT Fitting
60m-HA-14-SN | 60m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | SN w/Standard Nose Cone | CS456-60m-HA-14-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) –SN w/Standard Nose Cone
60m-HA-14-WN | 60m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | WN w/Weighted Nose Cone | CS456-60m-HA-14-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -WN w/Weighted Nose Cone
60m-HA-14-NN | 60m | HA Higher 0.05% Accuracy | 0-14.5psig (100kPa) | NN w/NPT Fitting | CS456-60m-HA-14-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -14 0-14.5psig (100kPa) -NN w/NPT Fitting
60m-HA-29-SN | 60m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | SN w/Standard Nose Cone | CS456-60m-HA-29-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) –SN w/Standard Nose Cone
60m-HA-29-WN | 60m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | WN w/Weighted Nose Cone | CS456-60m-HA-29-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -WN w/Weighted Nose Cone
60m-HA-29-NN | 60m | HA Higher 0.05% Accuracy | 0-29psig (200kPa) | NN w/NPT Fitting | CS456-60m-HA-29-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -29 0-29psig (200kPa) -NN w/NPT Fitting
60m-HA-72-SN | 60m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | SN w/Standard Nose Cone | CS456-60m-HA-72-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) –SN w/Standard Nose Cone
60m-HA-72-WN | 60m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | WN w/Weighted Nose Cone | CS456-60m-HA-72-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -WN w/Weighted Nose Cone
60m-HA-72-NN | 60m | HA Higher 0.05% Accuracy | 0-72.5psig (500kPa) | NN w/NPT Fitting | CS456-60m-HA-72-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -72 0-72.5psig (500kPa) -NN w/NPT Fitting
60m-HA-145-SN | 60m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | SN w/Standard Nose Cone | CS456-60m-HA-145-SN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) –SN w/Standard Nose Cone
60m-HA-145-WN | 60m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | WN w/Weighted Nose Cone | CS456-60m-HA-145-WN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -WN w/Weighted Nose Cone
60m-HA-145-NN | 60m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-60m-HA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -60m w/60m (200ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting
15m-HA-145-NN | 15m | HA Higher 0.05% Accuracy | 0-145psig (1000kPa) | NN w/NPT Fitting | CS456-15m-HA-145-NN CS456 Pressure Transducer SDI-12 RS-232, Titanium (0 to +60C)** -15m w/15m (50ft) per Sensor -HA Higher 0.05% Accuracy -145 0-145psig (1000kPa) -NN w/NPT Fitting